Sensory Spohf

Location A

Sensor mounted at greenhouse structure at plant top level.

1 Sensor id:

S2103-01-temp-hum-co2

Measurements: temperature humidity and co2

Location B

Sensors are mounted at sensor rig. Located in the middle of the greenhouse on a special structure at plant top level. Its plant row is 3 rows to the right from the gateway.

2 sensor id’s

B1= s2100-02-par Measurement:  PAR value (light)

B2= lht65s-e5-02 Measurements: Lux (light), temperature, humidity

Lux sensor is external data. Temperature and humidity are measured in the device node.

B1 = red

B2 = Bleu

Location C

Location C is not placed yet

1 sensor id

Lht65s-ne117-01 Measurements: external temperature (ext. data), temperature, humidity

Location D

Located in the top of the greenhouse above the screens.

3 sensor ids

D1= s2100-01-par Measurement:  PAR value (light)

D2= lht65s-e5-01 Measurements: Lux (light), temperature, humidity

Lux sensor is external data. Temperature and humidity are measured in the device node.

D3= s2101-01-temp-hum: temperature, humidity

D1= red

D2= bleu

D3= green

Location E

Located at top greenhouse and external sensors positioned at glass.

2 sensor ids

S2107-01-temp  external temperature sensor

Lht65s-ne117-02 external temperature sensor, internal temperature sensor, internal humidity sensor

Temperature ext. is external data. Temperature and humidity are measured in the device node.

Location F

Location F is located at the centre path. Here is the gateway box antenna and a sensor mounted. The sensor external temperature sensor is mounted at a heating pipe on the side at plant middle level. The function of this measurement is to track if the heating is on.

Sensor id:

Lht65s-ne117-03

Temperature ext. is external data. Temperature and humidity are measured in the device node.

Location G

Location G is a random choice of mounting a temperature humidity sensor. At plant level in the greenhouse.

Ana gives update about sensor location

Sensor id:

S31-lb-01

External humidity sensor= Hum_SHT31

External temperature sensor= TempC_SHT31

Location H

Location h is in row 2055 is on the otherside of the path then the gateway.

Approximately 10 meter in this pad the dendrometers are mounted.

Sensor id:

Dendro-01

ADC_CH0V = stem thickness before first cluster

ADC_CH1V = stem thickness in-between clusters

Sensor id:

Dendro-02

ADC_CH0V = fruit measurement 1 fruit on cluster

ADC_CH1V = fruit measurement 1 for last fruit on cluster.

ADC_CH4V = stem thickness before first cluster

Location Outside

S1000-Weatherstation

Measurements outside

Tempature [Celcius]

Air humidity [ RH%]

Air pressure [hPa]

Licht intensity [Lux]

Wind speed [m/s]

Wind direction degrees from north

Rainfall [mm/h]

Partical matter pm 2.5 [ug/m3]

Partical matter pm 10 [ug/m3]

Co2 [ppm]